L1
L2
L3
N
0 V
+24 V
PE
L
!ES : not Emergency Stop: 24V until Emergency Stop is pressed
 : Mechanical interlock
-
><
+
R
S
T
PE
PE
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
A
B
C
D
E
F
G
H
I
J
K
M
O
P
~

---
ES-in
ES-out
sigDL
sigDR
><
Elektroničko upravljanje
L1
L2
L3
Direktno upravljanje
L1
L2
L3
M1
M2

---
R
S
T
Q0
L1
L2
L3
Sinel – page 1/6
Teleskopski ormarić - vrata

---
ES in
24 V in
Analog speed HA
Analog speed DE
N/C
N/C
Enable HA
Enable DE
20 V
10 V
N/C
N/C
24 V out
ES out
XEN-T1192
XEN-G1191
XEN-G1191
XEN-G1191
XEN-G1191
NOTICE: physically block looks different –contacts 21-22 are in the middle of the block!
Emergercy Stop
NC contacts
Turn Reset
Upravljačka kutija - teleskop

---
24 V
ES-in
Delay off Relay
≈ 0.5 sec
ES-out
Emergency Stop
- Control Box Loop -
24 V in
24 V out
10 V
20 V
Enable DE
Enable HA
Analog speed DE
Analog speed HA
ES out
ES in
N/C
N/C
N/C
N/C

---
5 V
N/C
Fixed position contact NC
V
Quadrature encoder
Quadrature encoder
5 V
GND
Fixed position contact NC
Fixed position contact NC
Dome positioning circuits
- wiring -

---
L1
L2
L3
+24 V
PE
!ES : not Emergency Stop: 24V until Emergency Stop is pressed
   : Mechanical interlock
-
><
+
R
S
T
PE
PE
~

---
ES
R14
R13
sigDL
sigDR
A1
><
R11
R12
A2
A2
Elektroničko upravljanje
L1
L2
L3
Dome's motors power source
- Dome locker-
Direktno upravljanje
L1
L2
L3
M1
M2
24V / 6A
A11
24 V

---
8-wires cable legend
K1
K2
B0
C0 ili Q3 ga nazvati
C1 & C2
R
S
T
Q0
L1
Telescope loker - door
L2
L3
Sinel – page 1/6
Connector 1 (left – front view)
Connector 2 (right – front view)
----
----
----
----
----
----
----
----

---
ES in
24 V in
Analog speed HA
Analog speed DE
N/C
N/C
Enable HA
Enable DE
20 V
10 V
N/C
N/C
24 V out
ES out
XEN-T1192
XEN-G1191
XEN-G1191
XEN-G1191
XEN-G1191
HA -
Emergercy Stop
NC contacts
Turn Reset
HA +
DE +
DE -
NOTICE: physically block looks different –contacts 21-22 are in the middle of the block!
Control box 1 - Telescope

---
5 V out
24 V in
TS7805
ES in
24 V in
N/C
N/C
UP
DOWN
N/C
N/C
N/C
N/C
RIGHT
LEFT
24 V out
ES out
 Note: this is control box metal plate.
ZB2BE101
ZB2BE102
ZB2BE101
ZB2BE102
ZB2BE101
ZB2BE102
ZB2BE101
ZB2BE102
XEN-T1192
LEFT
RIGHT
UP
Emergercy Stop
NC contacts
Turn Reset
DOWN
101-NO
102-NC
Control box 2 - Dome

---
8-wires cable legend
K11
K12
B10
NOT UPDATED!!
Dome loker – connector side
Connector 1 (down – front view)
Connector 2 (up – front view)

---
G0 - 32
Dome locker
(s. next page)
Black-box
SHOULD BE ADDED
24 V
38
A1
24 V
24V / 5A
T1
T2
Continue to timer and Magnums: to be continued
NOT UPDATED!!
Emergency Stop System
- Telescope locker -
B0

---
G10 - 381
Q10
381
38
T11
T12
----
Emergency Stop System
- Dome locker -
24 V
24 V
B10
24V / 6A
A11
24 V
N/C
N/C
N/C
N/C
N/C
N/C
!ES out
!ES in
IV
To teleskope locker

---
T0
24 V
ES-in
ES in
24 V in
Analog speed HA
Analog speed DE
N/C
N/C
Enable HA
Enable DE
20 V
10 V
N/C
N/C
24 V out
ES out
Delay off Relay
≈ 0.5 sec
Note: new timers need to get +24 V on pin 7, while older timers could have 2 and 7 switched
ES-out
Emergency Stop
- Control box loop -
single control box connector
(this layout in currently not being used)

---
ES in
24 V in
Analog speed HA
Analog speed DE
UP
DOWN
Enable HA
Enable DE
20 V
10 V
RIGHT
LEFT
24 V out
ES out
Y-splitter for Control boxes

---
ES in
24 V in
Analog speed HA
Analog speed DE
N/C
N/C
Enable HA
Enable DE
20 V
10 V
N/C
N/C
24 V out
ES out
Y-splitter terminator
(needed when only one control box
is connected to the Y-splitter)

---
Lorem
ipsum